IoT WiFi based Water Boiler Temperature Monitor

This project is to construct Boiler Water Temperature monitor that displays the temperature of the water on a remote web browser.

The sensed and set temperature values are simultaneously displayed on the LCD panel and IoT screen. The circuit is programmed to display set and live temperature. It is very compact using few components and can be implemented for several applications including air-conditioners, water-heaters, snow-melting equipments, ovens, heat-exchangers, mixers, furnaces, incubators, thermal baths and veterinary operating tables.

The temperature sensor DS18B20 senses the temperature and converts it into an electrical signal, which is applied to the microcontroller through digital input. The sensed and set values of the temperature are displayed on the 16x2-line LCD.  The set temperature value can be varied from -55 to 125°C using an external PCB mount push on switch.

The main features of the project are:

- Measuring water temperature in real-time.

- Displaying of sensed and set temperature on LCD display and IoT screen.

- Possible to vary set temperature.

- Alerts if sensed temperature exceeds set temperature.

The project provides learning’s of following technologies:

- Temperature sensor.

- ADC usage of Microcontroller.

- LCD interfacing to Microcontroller.

- Solar panel.

The major building blocks of the project are:

- Regulated Power Supply.

- PIC Microcontroller.

- Temperature sensor.

- Crystal oscillator.

- LED indicators.

- Reset.

- Buzzer.

- IOT Module

- LCD display with driver.

- Push Buttons to set temperature.

Software used:

- PIC-C compiler for Embedded C programming.

- PIC kit 2 programmer for dumping code into Micro controller.

- Express SCH for Circuit design.

Regulated Power Supply:

Block Diagram