IoT based Human Health Monitoring System

The purpose of this project is to develop IoT enabled Smart Health Monitoring System. In this project we are sensing health parameters like Heartrate, Body Temperature and SpO2 (Blood Oxygen) level. The Health parameters are displayed on web browser on WiFi enabled devices like smart phone or Labtop.

Technology is being used everywhere in our daily life to fulfill our requirements. We are employing different sensors for different applications sometimes we may even use same sensors differently for different applications. Whatever it may be the final output is life has increased its speed with the technology boosters. We can not only increase the speed of life but also increase security with good ideas to make use of this technology. One of the ideal ways of using technology is to employ it to sense serious health problems so that efficient medical services can be provided to the patient in correct time. This idea to provide efficient health service to patients has given birth to the project heart beat monitoring system with wireless interfacing to Smartphones through Wi-Fi technology.

Heart beat monitor and display system is a portable and a best replacement for the old model stethoscope which is less efficient. The heart beat rate is calculated manually using stethoscope where the probability of error is high because the heart beat rate lies in the range of 70 to 90 per minute whose occurrence is less than 1 sec. So this device can be considered as a very good alternative instead of a stethoscope.

This device consists of a micro controller which takes the input from the heart beat sensor and calculates the heart rate of the patient. The micro controller also takes the responsibility to convey the same information to the remote Smartphone via wireless communication. The IoT Wi-Fi module transmits the data received from the controller. The Microcontroller is programmed using Embedded ‘C’ language.

The main objective of this project is:

- Monitoring the heartbeat, Temperature and SpO2 through IoT WiFi wirelessly.

- Web browser based display to avoid dedicated apps.

- Buzzer alert for every heartbeat.

The project provides learning’s on the following advancements:

- Sensors interfacing with Arduino Microcontroller

- Wi-Fi module interfacing to Microcontroller

- Embedded C programming.

The major building blocks of this project are:

- Regulated power supply.

- Arduino Uno Micro controller.

- Max30100 Heart rate and SpO2 sensor.

- LM35 Temperature sensor

- ESP8266 Wi-Fi module.

- Crystal oscillator.

- Reset.

- LED indicators.

- Buzzer.

Software used:

- Arduino-C compiler for Embedded C programming.

- Express SCH for Circuit design.

Regulated Power Supply:

Block diagram: