RS485 based SCADA system for longer distance powered devices

This project aims at building an efficient and automatic power survey system, which is capable of monitoring the electrical parameters of high voltage devices, which are present in real time industrial environment. The purpose of this project is to acquire the remote electrical parameters like Voltage, Current and Frequency and send these real time values over PC using RS485 cable.

The purpose of this project is to log electrical data such as voltage, current, frequency, temperature etc at remote locations like substations. The data is sensed using various electrical sensors and processed by micro controller. The processed data is downloaded and displayed on to the computer for further processing.

This project makes use of an onboard computer which is commonly termed as micro controller. This onboard computer can efficiently communicate with the different sensors being used. The controller is provided with some internal memory to hold the code. This memory is used to dump some set of assembly instructions into the controller. And the functioning of the controller is dependent on these assembly instructions.

The objectives of the project include:

- Sensing different electrical parameters (voltage, current, temperature).

- Display those parameters on PC.

The project provides us exposure on:

- Initialization of ADC module of microcontroller.

- Embedded C program.

- PCB designing.

- Different electrical sensors.

- Interfacing sensors to controller.

- PC interfacing using RS485 cable.

The major building blocks of this project are:

- Microcontroller Mother Board with regulated power supply.

- PC display to show the measured electrical parameters.

- Personal Computer.

- Temperature Sensor.

- Voltage Sensor.

- Current Sensor.

- LED indicators

- Crystal Oscillator

Software’s used:

1. PIC-C compiler for Embedded C programming.
2. PIC kit 2 programmer for dumping code into Micro controller.
3. Express SCH for Circuit design.

Regulated power supply:

Block Diagram: