Automatic fall detection and Heartbeat monitoring for elderly

The project aims in designing a system which helps in monitoring heartbeat and fall detection of elderly people on PC.

Technology is being used everywhere in our daily life to fulfill our requirements. We are employing different sensors for different applications sometimes we may even use same sensors differently for different applications. We can not only increase the comfort of life but also increase health security with good ideas to make use of the technology. One of the ideal ways of using technology is to employ it to sense serious health problems so that efficient medical services can be provided to the patient in correct time. This idea to provide efficient health service to patients has given birth to the project heart beat monitoring system along with fall detection with display on PC.

The modules in the project are: MEMS accelerometer which is capable of fall detection, heartbeat sensor which continuously gives the heartbeat, and PC to display the monitored parameters.

Heart beat monitor and display system is a portable and a best replacement for the old model stethoscope which is less efficient. The heart beat rate is calculated manually using stethoscope where the probability of error is high because the heart beat rate lies in the range of 70 to 90 per minute, so this device can be considered as a very good alternative instead of a stethoscope.

The functioning of this device is based on the truth that the blood circulates for every one heart beat which can be sensed by using a circuit formed by the combination of an LDR and LED. Depending upon the rate of circulation of blood per second the heart beat rate per minute is calculated. This device consists of a micro controller which takes the input from the heart beat sensor and calculates the heart rate of the patient. Also, the Microcontroller gets the information from MEMS accelerometer about the tilt angle. The micro controller takes the responsibility to display the same on the PC which is interfaced to it through MAX 232 line driver.

The main objective of this project is:

- Continous monitoring of heart beat.

- Indicates fall.

- Display on PC.

The project provides learning’s on the following advancements:

- Developing a sensor based on LED and LDR.

- LDR characteristics.

- MEMS accelerometer

- Conversion of AC supply to DC supply.

- Interfacing PC to Microcontroller.

- Embedded C programming.

- PCB design.

The major building blocks of this project are:

- Regulated power supply.

- Micro controller.

- Heart beat sensor.

- MEMS accelerometer.

- Reset.

- MAX232.

- Crystal oscillator.

- LED indicators.

Software used:

- PIC-C compiler for Embedded C programming.

- PIC kit 2 programmer for dumping code into Micro controller.

- Express SCH for Circuit design.

- Proteus for hardware simulation.

Regulated Power Supply:

Block diagram: