Intelligent irrigation water system controlling system with GSM technology and soil moisture sensor

The purpose of this project is to design a system which monitors and controls the water flow to an irrigation system using Mobile Phone through SMS.  This can be achieved by the use of soil moisture sensor, which senses the water content in the soil. This sensor output is given to a Microcontroller based control system for further data processing.

This project also consists of GSM modem for remote monitoring and control of water supply to irrigation system.  Whenever the soil moisture content goes below some predefined level, and then this information is sent to user as an SMS message over GSM network.  After receiving this SMS alert user can send commands in the form of SMS message back to Microcontroller based control system. Based on the command received the Microcontroller switches ON or OFF the electrical water pump.

The design of this system is very much sensitive and should be handled with utmost care because the microcontroller is a 5 volts device and it is employed to monitor the operation of high voltage water motor. So every small parameter should be given high importance while designing the interfacing circuit between the controller and the water motor.

The features of the project are:

- Automatic Soil moisture sensing system.

- GSM based automatic remote communication.

- Water pumps control through SMS.

- Water pump status enquiry.

- Low moisture level alert in the form of SMS.

The project provides the following learning’s:

- Interfacing soil moisture sensor to microcontroller.

- GSM modem interfacing.

- High voltage motor interfacing to low voltage microcontroller.

- Relay usage and interfacing.

The major building blocks of this project are:

- Regulated Power Supply.

- Microcontroller.

- Soil moisture sensor.

- Relay with driver

- Crystal oscillator.

- LCD with driver.

- GSM modem.

- Reset.

- LED Indicators.

Software used:

- PIC-C compiler for Embedded C programming.

- PIC kit 2 programmer for dumping code into Micro controller.

- Express SCH for Circuit design.

- Proteus for hardware simulation.

Regulated Power Supply:

Block Diagram: