Medical parameters monitoring on live website

The project aims in designing system which is capable of continuously uploading the medical parameters of a person into a pre-defined web-link.  Technology is being used everywhere in our daily life to fulfill our requirements. We are employing different sensors for different applications sometimes we may even use same sensors differently for different applications. We can not only increase the comfort of life but also use technology for continous monitoring of medical parameters. One of the ideal ways of using technology is to employ it to sense serious health problems so that efficient medical services can be provided to the patient in correct time. This idea to provide efficient health service to patients has given birth to the project web link based patient monitoring.

This system provides best replacement for the old model stethoscope which is less efficient and helps in monitoring of patient heart rate as well as body temperature from anywhere in the world . The heart beat rate is calculated manually by stethoscope where the probability of error is high because the heart beat rate lies in the range of 70 to 90 per minute. So this device can be considered as a very good alternative instead of a stethoscope.

The functioning of heartbeat sensor is based on the truth that the blood circulates for every one heart beat which can be sensed by using a circuit formed by the combination of an LDR and LED. Depending upon the rate of circulation of blood per second the heart beat rate per minute is calculated.

The controlling device of the whole system is a Microcontroller. Heart beat sensor and temperature sensor are interfaced to the Microcontroller. The Microcontroller is programmed in such a way that it receives input from heart beat sensor and temperature sensor. This input is processed and uploaded to a pre-defined web link using GPRS modem interfaced to the Microcontroller. The Microcontroller is programmed using Embedded C language which provides effective environment in performing the task.

The main objective of this project is:

- Continous uploading of patient medical parameters heart rate and body temperature to a web link.

- Monitoring can be done from anywhere in the world.

The project provides the following learning’s:

- Heartbeat sensor.

- Heart beat sensor interfacing to Microcontroller.

- GPRS technology.

- GPRS modem interfacing to Microcontroller.

- Conversion of AC supply to DC supply.

- Temperature sensor.

- Embedded C programming.

- PCB designing.

The major building blocks of the project are:

- Regulated Power Supply.

- Microcontroller.

- Heartbeat sensor.

- Temperature sensor.

- GPRS modem.

- Reset.

- Crystal oscillator.

- LED indicators.

Software used:

- PIC-C compiler for Embedded C programming.

- PIC kit 2 programmer for dumping code into Micro controller.

- Express SCH for Circuit design.

- Proteus for hardware simulation.

Regulated Power Supply:

Block diagram: